## Sheet1
Control after 450s settle time appears to be +/-0.1 by std dev.
Temperature profile 5/5/2018 11:28:56 AM
Camera: ASCOM |  | ZWO ASI178MM-cool
Temp drop: 30 degC
setpoint is -11.00
Cadence: 10 sec between samples
Lead in time: 3 min tracking ambient
Take data for 20 min
secs | cam_C | cam_%pwr
0 | 19.6 | 0
10 | 19.6 | 0
20 | 19.6 | 0
30 | 19.6 | 0
40 | 19.6 | 0
50 | 19.6 | 0
60 | 19.6 | 0
70 | 19.7 | 0
80 | 19.7 | 0
90 | 19.7 | 0
100 | 19.7 | 0
110 | 19.7 | 0
120 | 19.7 | 0
130 | 19.7 | 0
140 | 19.7 | 0
150 | 19.7 | 0
160 | 19.7 | 0
170 | 19.7 | 0
180 | 19.7 | 0
190 | 17.3 | 11
200 | 13 | 11
210 | 9.8 | 11
220 | 7.5 | 11
230 | 6 | 10
240 | 4 | 16
250 | 1.8 | 16
260 | 0.1 | 19
270 | -1.8 | 22
280 | -3.7 | 24
290 | -5.5 | 27
300 | -7 | 28
310 | -8.3 | 29
320 | -9.5 | 30
330 | -10.3 | 30
340 | -11 | 30
350 | -11.5 | 29
360 | -11.7 | 28
370 | -11.8 | 27
380 | -11.8 | 25
390 | -11.7 | 25
400 | -11.5 | 23
410 | -11.2 | 23
420 | -11.1 | 23
430 | -11 | 23
440 | -10.8 | 23
450 | -10.8 | 23
460 | -10.7 | 23
470 | -10.7 | 24
480 | -10.7 | 24
490 | -10.8 | 24
500 | -10.8 | 24
510 | -10.8 | 24
520 | -10.8 | 24
530 | -10.8 | 24
540 | -11 | 24
550 | -11 | 24
560 | -11 | 24
570 | -11 | 24
580 | -11 | 24
590 | -11 | 24
600 | -11 | 24
610 | -11 | 24
620 | -11 | 24
630 | -11 | 24
640 | -10.8 | 24
650 | -11 | 24
660 | -10.8 | 24
670 | -11 | 24
680 | -10.8 | 24
690 | -11 | 24
700 | -11 | 24
710 | -11 | 24
720 | -11 | 24
730 | -11 | 24
740 | -11 | 24
750 | -11 | 24
760 | -11 | 24
770 | -11 | 24
^
stddev | 0.11242

## Sheet2
Temperature profile 5/5/2018 11:54:06 AM |  |  | Camera spec is 40deg drop. Temperature gets close then stops dropping. The algorithm keeps pouring on the power.
Camera: ASCOM |  | ZWO ASI178MM-cool | until something pops (maybe the power supply) This is at about 1.9Amps.
Temp drop: 40 degC |  |  | The event shown below is the power supply hitting its current limit (1.91A) and switching to current mode. That was then 5V and
setpoint is -20.00 |  |  | the camera lost temp control and went to 100%
Cadence: 10 sec between samples |  |  | The heat sink is pretty big. Could be more effective with flow across the blades.
Lead in time: 3 min tracking ambient
Take data for 20 min
secs | cam_C | cam_%pwr
0 | 20.8 | 0
10 | 20.8 | 0
20 | 20.8 | 0
30 | 20.8 | 0
40 | 20.8 | 0
50 | 20.8 | 0
60 | 20.8 | 0
70 | 20.8 | 0
80 | 20.8 | 0
90 | 21 | 0
100 | 21 | 0
110 | 21 | 0
120 | 21 | 0
130 | 21 | 0
140 | 21 | 0
150 | 21 | 0
160 | 21 | 0
170 | 21 | 0
180 | 21 | 0
190 | 17 | 15
200 | 12.2 | 15
210 | 8.8 | 15
220 | 6.2 | 15
230 | 4.2 | 11
240 | 2.7 | 20
250 | 0.2 | 20
260 | -1.7 | 25
270 | -3.7 | 27
280 | -5.7 | 33
290 | -7.6 | 34
300 | -9.2 | 40
310 | -11 | 43
320 | -12.5 | 47
330 | -13.7 | 49
340 | -15 | 51
350 | -15.8 | 53
360 | -16.7 | 55
370 | -17.5 | 57
380 | -18.1 | 58
390 | -18.7 | 60
400 | -19.1 | 61
410 | -19.5 | 63
420 | -19.7 | 63
430 | -20 | 63
440 | -20.1 | 63
450 | -20.1 | 63
460 | -20.2 | 62
470 | -20.2 | 62
480 | -20.2 | 62
490 | -20.1 | 62
500 | -20.1 | 62
510 | -20.1 | 62
520 | -20 | 62
530 | -20 | 62
540 | -19.8 | 62
550 | -19.8 | 62
560 | -19.8 | 62
570 | -19.7 | 63
580 | -19.7 | 63
590 | -19.6 | 63
600 | -19.6 | 63
610 | -19.6 | 63
620 | -19.5 | 64
630 | -19.6 | 65
640 | -19.6 | 65
650 | -19.6 | 65
660 | -19.5 | 66
670 | -19.6 | 66
680 | -19.6 | 67
690 | -19.6 | 67
700 | -19.5 | 67
710 | -19.6 | 69
720 | -19.6 | 69
730 | -19.6 | 69
740 | -19.6 | 69
750 | -19.6 | 69
760 | -19.6 | 69
770 | -19.6 | 70
780 | -19.5 | 70
790 | -19.6 | 70
800 | -19.6 | 71
810 | -19.6 | 71
820 | -19.6 | 71
830 | -19.6 | 71
840 | -19.5 | 72
850 | -19.6 | 72
860 | -19.6 | 72
870 | -19.5 | 74
880 | -19.6 | 74
890 | -19.6 | 74
900 | -19.6 | 74
910 | -19.6 | 74
920 | -19.6 | 74
930 | -19.6 | 75
940 | -19.6 | 75
950 | -19.5 | 75
960 | -19.6 | 76
970 | -19.6 | 76
980 | -19.6 | 76
990 | -19.6 | 76
1000 | -19.6 | 77
1010 | -19.6 | 77
1020 | -19.6 | 77
1030 | -19.6 | 77
1040 | -19.6 | 77
1050 | -19.6 | 78
1060 | -19.6 | 78
1070 | -19.6 | 78
1080 | -19.6 | 78
1090 | -19.6 | 78
1100 | -19.5 | 79
1110 | -19.6 | 79
1120 | -19.6 | 79
1130 | -19.6 | 80
1140 | -19.6 | 80
1150 | -19.6 | 80
1160 | -19.6 | 80
1170 | -19.6 | 80
1180 | -19.6 | 81
1190 | -19.6 | 81
1200 | -19.6 | 81
1210 | -19.6 | 81
1220 | -19.6 | 82
1230 | -19.6 | 82
1240 | -19.6 | 82
1250 | -19.6 | 83
1260 | -19.6 | 83
1270 | -19.6 | 83
1280 | -19.6 | 83
1290 | -19.6 | 83
1300 | -17.3 | 86
1310 | -15.7 | 88
1320 | -14.6 | 92
1330 | -13.8 | 94
1340 | -13.2 | 99
1350 | -12.7 | 100
1360 | -12.3 | 93
1370 | -7.6 | 0
1380 | 0.6 | 0
1390 | 5.6 | 0

## Sheet3
Narrative
New regulated power supply. Taking data continuously (4-6s cadence) adding a little load
Delta 40C (-23C) target not reachable. Camera runs power demand up to 100% and holds it. Temp starts climbing due to heat generation.
Temperature profile 5/6/2018 2:39:00 PM |  |  | Dropped target to -20C (@~780s). Controlled there for a while, then the heat build up got out of hand again.
Camera: ASCOM
Temp drop: 40 degC
setpoint is -23.00
Cadence: 10 sec between samples
Lead in time: 2 min tracking ambient
Take data for 20 min
secs | cam_C | cam_%pwr
0 | 17.7 | 0
10 | 17.7 | 0
20 | 17.7 | 0
30 | 17.7 | 0
40 | 17.7 | 0
50 | 17.7 | 0
60 | 17.7 | 0
70 | 17.7 | 0
80 | 17.8 | 0
90 | 17.8 | 0
100 | 17.8 | 0
110 | 17.8 | 0
120 | 17.8 | 0
130 | 15.1 | 15
140 | 10.2 | 15
150 | 6.2 | 15
160 | 3.8 | 15
170 | 2.2 | 11
180 | 0.3 | 21
190 | -1.7 | 21
200 | -4.1 | 30
210 | -6 | 30
220 | -7.7 | 31
230 | -9.8 | 38
240 | -11.7 | 45
250 | -13.1 | 48
260 | -14.6 | 52
270 | -16.2 | 54
280 | -17.3 | 57
290 | -18.1 | 59
300 | -19 | 61
310 | -19.6 | 62
320 | -20.2 | 64
330 | -20.5 | 66
340 | -20.8 | 68
350 | -21.2 | 70
360 | -21.6 | 72
370 | -21.7 | 73
380 | -22.1 | 75
390 | -22.3 | 76
400 | -22.6 | 76
410 | -22.6 | 77
420 | -22.5 | 77
430 | -22.5 | 79
440 | -22.6 | 80
450 | -22.5 | 81
460 | -22.5 | 82
470 | -22.6 | 83
480 | -22.5 | 84
490 | -22.5 | 87
500 | -22.5 | 88
510 | -22.5 | 89
520 | -22.5 | 90
530 | -22.5 | 92
540 | -22.5 | 93
550 | -22.5 | 95
560 | -22.5 | 96
570 | -22.5 | 98
580 | -22.5 | 100
590 | -22.5 | 100
600 | -22.3 | 100
610 | -22.3 | 100
620 | -22.2 | 100
630 | -22.1 | 100
640 | -22 | 100
650 | -22 | 100
660 | -21.8 | 100
670 | -21.7 | 100
680 | -21.6 | 100
690 | -21.6 | 100
700 | -21.5 | 100
710 | -21.3 | 100
720 | -21.3 | 100
730 | -21.2 | 100
740 | -21.1 | 100
750 | -21.1 | 100
760 | -21 | 100
770 | -20.8 | 100
780 | -20.8 | 100
790 | -20.7 | 100
800 | -20.7 | 97
810 | -20.6 | 96
820 | -20.3 | 93
830 | -20.3 | 93
840 | -20.2 | 93
850 | -20.1 | 93
860 | -20.1 | 93
870 | -20 | 93
880 | -20 | 93
890 | -19.8 | 93
900 | -19.8 | 93
910 | -19.8 | 93
920 | -19.8 | 93
930 | -19.8 | 93
940 | -19.8 | 94
950 | -19.7 | 94
960 | -19.7 | 94
970 | -19.7 | 94
980 | -19.7 | 94
990 | -19.7 | 94
1000 | -19.7 | 94
1010 | -19.7 | 94
1020 | -19.7 | 95
1030 | -19.7 | 95
1040 | -19.7 | 95
1050 | -19.7 | 95
1060 | -19.7 | 95
1070 | -19.8 | 95
1080 | -20 | 95
1090 | -20.1 | 95
1100 | -20.1 | 95
1110 | -20.2 | 95
1120 | -20.1 | 95
1130 | -20 | 95
1140 | -19.8 | 95
1150 | -19.8 | 95
1160 | -19.7 | 95
1170 | -19.7 | 95
1180 | -19.7 | 95
1190 | -19.6 | 96
1200 | -19.6 | 96
1210 | -19.6 | 96
1220 | -19.6 | 96
1230 | -19.6 | 96
1240 | -19.6 | 97
1250 | -19.6 | 97
1260 | -19.6 | 97
1270 | -19.6 | 97
1280 | -19.6 | 97
1290 | -19.6 | 98
1300 | -19.6 | 98
1310 | -19.6 | 98
1320 | -19.6 | 98
1330 | -19.6 | 98

## Sheet4
Narrative
Nice hunt and settle at delta 35C
2m USB3 link to computer
Temperature profile 5/6/2018 3:08:18 PM |  |  | 4-6s image cadence during
Camera: ASCOM
Temp drop: 35 degC
setpoint is -15.00
Cadence: 10 sec between samples
Lead in time: 2 min tracking ambient
Take data for 20 min
secs | cam_C | cam_%pwr
0 | 20.1 | 0
10 | 20.2 | 0
20 | 20.3 | 0
30 | 20.5 | 0
40 | 20.5 | 0
50 | 20.6 | 0
60 | 20.6 | 0
70 | 20.7 | 0
80 | 20.7 | 0
90 | 20.7 | 0
100 | 20.8 | 0
110 | 20.8 | 0
120 | 20.8 | 0
130 | 19.3 | 13
140 | 14.5 | 13
150 | 10.2 | 13
160 | 8.1 | 13
170 | 5.8 | 9
180 | 4.1 | 20
190 | 1.8 | 20
200 | -0.3 | 21
210 | -2.3 | 25
220 | -3.7 | 29
230 | -6 | 30
240 | -7.8 | 34
250 | -9.5 | 36
260 | -10.5 | 38
270 | -11.8 | 39
280 | -12.8 | 40
290 | -13.6 | 41
300 | -14.5 | 42
310 | -15 | 42
320 | -15.3 | 41
330 | -15.6 | 40
340 | -15.6 | 39
350 | -15.6 | 37
360 | -15.5 | 36
370 | -15.3 | 35
380 | -15.1 | 35
390 | -15.1 | 35
400 | -15 | 35
410 | -15 | 35
420 | -14.8 | 35
430 | -14.8 | 36
440 | -14.8 | 36
450 | -14.8 | 36
460 | -14.8 | 36
470 | -14.8 | 36
480 | -14.8 | 36
490 | -14.8 | 36
500 | -14.8 | 36
510 | -14.8 | 36
520 | -14.8 | 36
530 | -14.8 | 36
540 | -14.8 | 36
550 | -14.8 | 36
560 | -14.8 | 36
570 | -14.8 | 36
580 | -14.8 | 37
590 | -14.8 | 36
600 | -15 | 37
610 | -15 | 37
620 | -15 | 37
630 | -15 | 37
640 | -15 | 37
650 | -15 | 37
660 | -15 | 37
670 | -15 | 37
680 | -15 | 37
690 | -15 | 37
700 | -14.8 | 37
710 | -14.8 | 37
720 | -14.8 | 37
730 | -14.8 | 37
740 | -14.8 | 37
750 | -14.8 | 37
760 | -14.8 | 37
770 | -15 | 37
780 | -15 | 37
790 | -15 | 37
800 | -15 | 37
810 | -15 | 37
820 | -15 | 37
830 | -15 | 37
840 | -15 | 37
850 | -15 | 37
860 | -15 | 37
870 | -15 | 37
880 | -15 | 37
890 | -15 | 37
900 | -14.8 | 37
910 | -15 | 37
920 | -15 | 37
930 | -15 | 37
940 | -15 | 37
950 | -15 | 37
960 | -15 | 37
970 | -15 | 37
980 | -15 | 37
990 | -15 | 37
1000 | -15 | 37
1010 | -15 | 37
^

## Sheet5
Narrative
Connected with USB3 hub to 10m USB2 extender cable.
Failed to comm initially. Reset camera and tried again. Settled in okay
Temperature profile 5/6/2018 5:03:21 PM |  |  | Imaging 4s images during
Camera: ASCOM |  |  | Little alarming that it tried to call for 100% power right away.
Temp drop: 35 degC
setpoint is -16.00
Cadence: 10 sec between samples
Lead in time: 2 min tracking ambient
Take data for 20 min
secs | cam_C | cam_%pwr
0 | 19.6 | 0
10 | 19.6 | 0
20 | 19.6 | 0
30 | 19.6 | 0
40 | 19.6 | 0
50 | 19.6 | 0
60 | 19.6 | 0
70 | 19.6 | 0
80 | 19.6 | 0
90 | 19.6 | 0
100 | 19.6 | 0
110 | 19.6 | 0
120 | 19.6 | 0
130 | 19.6 | 14
140 | 19.6 | 35
150 | 19.6 | 49
160 | 19.6 | 71
170 | 19.6 | 85
180 | 19.6 | 100
190 | 19.6 | 100
200 | 19.6 | 100
210 | 19.6 | 100
220 | 19.6 | 100
230 | 19.6 | 100
240 | 19.6 | 100
250 | 19.6 | 100
260 | 19.6 | 100
270 | 19.6 | 100
280 | 19.6 | 100
290 | 19.6 | 100
300 | 19.6 | 100
310 | 19.6 | 100
320 | 19.6 | 100
330 | 19.6 | 100
340 | 19.6 | 100
350 | 19.6 | 100
360 | 19.6 | 100
370 | 19.6 | 100
380 | 19.6 | 100
390 | 19.6 | 100
400 | 19.6 | 100
410 | 19.6 | 100
420 | 19.6 | 100
430 | 19.6 | 100
440 | 19.6 | 100
450 | 19.6 | 100
460 | 19.6 | 100
470 | 19.6 | 100
480 | 19.6 | 100
490 | 19.6 | 100
500 | 19.6 | 100
510 | 19.6 | 100
520 | 19.6 | 100
530 | 19.6 | 100
540 | 19.6 | 100
550 | 19.6 | 0
560 | 19.6 | 0
570 | 19.6 | 14
580 | 19.6 | 35
590 | 19.6 | 0
600 | 19.6 | 0
610 | 19.6 | 0
620 | 19.6 | 0
630 | 19.6 | 0
640 | 19.6 | 0
650 | 19.6 | 0
660 | 16.5 | 0
670 | 12.8 | 12
680 | 8.7 | 12
690 | 5.8 | 12
700 | 4.2 | 12
710 | 2.5 | 16
720 | 0.5 | 19
730 | -2.7 | 21
740 | -4.2 | 22
750 | -6.1 | 27
760 | -8.3 | 31
770 | -10 | 33
780 | -11.2 | 34
790 | -12.7 | 36
800 | -13.8 | 37
810 | -15 | 38
820 | -15.6 | 39
830 | -16.1 | 38
840 | -16.6 | 38
850 | -16.7 | 36
860 | -16.7 | 35
870 | -16.7 | 33
880 | -16.6 | 32
890 | -16.3 | 31
900 | -16.1 | 31
910 | -16 | 31
920 | -16 | 32
930 | -15.8 | 32
940 | -15.8 | 32
950 | -15.7 | 32
960 | -15.7 | 32
970 | -15.7 | 32
980 | -15.7 | 32
990 | -15.7 | 32
1000 | -15.7 | 33
1010 | -15.7 | 33
1020 | -15.7 | 33
1030 | -15.7 | 33
1040 | -15.7 | 33
1050 | -15.7 | 33
1060 | -15.7 | 33
1070 | -15.8 | 33
1080 | -15.8 | 33
1090 | -15.8 | 33
1100 | -15.8 | 34
1110 | -15.8 | 34
1120 | -15.8 | 34
1130 | -15.8 | 34
1140 | -15.8 | 34
1150 | -15.8 | 34
1160 | -15.8 | 34
1170 | -15.8 | 34
1180 | -15.8 | 34
1190 | -15.8 | 34
1200 | -15.8 | 34
1210 | -15.8 | 34
1220 | -15.8 | 34
1230 | -15.8 | 34
1240 | -15.8 | 34
1250 | -15.8 | 35
1260 | -15.8 | 35
1270 | -15.8 | 35
1280 | -15.8 | 35
1290 | -15.8 | 35
1300 | -15.8 | 35
1310 | -15.8 | 35
1320 | -15.8 | 35
1330 | -15.8 | 35